## 18-22dec hitec
Time seconde | heure | Voltage | Current | Amp-hours | Bat SOC | Time remaining | Charge Efficiency | Auto Sync Current | Battery Full | Low Battery Alarm | Low Voltage Alarm | Main Battery High Voltage Alarm | Aux. Battery Low Voltage Alarm | Aux. Battery High Voltage Alarm | No Temperature Sensor | Temperature Sensor Enabled | Installer Lock | External Alarm 1 | External Alarm 2 | External Alarm 3 | Average Discharge (Ah) | Average Discharge (%) | Deepest Discharge (Ah) | Deepest Discharge (%) | Total Amp-hours Removed | Total Amp-hours Charged | Number Of Cycles | Number Of Synchronizations | Number Of Full Discharges | Number Of Low Battery Alarms | Main Battery Number Of Low Voltage Alarms | Aux. Battery Number Of Low Voltage Alarms | Main Battery Number Of High Voltage Alarms | Aux. Battery Number Of High Voltage Alarms
0 | 0:00 | 14.18 | 1.05 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1233.0 | 1303.5 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
1800 | 0:30 | 12.44 | -4.30 | -2.0 | 99.1 | 1497 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1235.0 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
3600 | 1:00 | 12.28 | -4.28 | -4.1 | 98.1 | 1467 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1237.1 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
5400 | 1:30 | 12.22 | -4.27 | -6.5 | 97.0 | 1434 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1239.3 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
7200 | 2:00 | 12.19 | -4.27 | -8.6 | 96.0 | 1404 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1241.4 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
9000 | 2:30 | 12.17 | -4.25 | -10.7 | 95.1 | 1398 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1243.5 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
10800 | 3:00 | 12.15 | -4.25 | -12.8 | 94.1 | 1368 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1245.6 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
12600 | 3:30 | 12.12 | -4.24 | -14.9 | 93.1 | 1338 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1247.8 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
14400 | 4:00 | 12.10 | -4.24 | -17.0 | 92.1 | 1307 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1249.9 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
16200 | 4:30 | 12.09 | -4.23 | -19.2 | 91.1 | 1277 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1252.0 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
18000 | 5:00 | 12.07 | -4.23 | -21.3 | 90.2 | 1247 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1254.1 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
19800 | 5:30 | 12.05 | -4.22 | -23.4 | 89.2 | 1216 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1256.2 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
21600 | 6:00 | 12.04 | -4.22 | -25.5 | 88.2 | 1186 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1258.3 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
23400 | 6:30 | 12.02 | -4.21 | -27.6 | 87.2 | 1156 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1260.4 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
25200 | 7:00 | 12.01 | -4.22 | -29.7 | 86.3 | 1125 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1262.5 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
27000 | 7:30 | 11.99 | -4.21 | -32.0 | 85.2 | 1093 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1264.6 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
28800 | 8:00 | 11.98 | -4.21 | -34.1 | 84.2 | 1062 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1266.7 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
30600 | 8:30 | 11.96 | -4.21 | -36.2 | 83.3 | 1032 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1268.8 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
32400 | 9:00 | 11.95 | -4.20 | -38.3 | 82.3 | 1002 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1270.9 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
34200 | 9:30 | 11.93 | -4.19 | -40.4 | 81.3 | 972 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1273.0 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
36000 | 10:00 | 11.92 | -4.19 | -42.5 | 80.3 | 942 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1275.2 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
37800 | 10:30 | 11.90 | -4.18 | -44.6 | 79.4 | 912 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1277.2 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
39600 | 11:00 | 11.89 | -4.19 | -46.7 | 78.4 | 882 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1279.3 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
41400 | 11:30 | 11.87 | -4.19 | -48.8 | 77.4 | 852 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1281.4 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
43200 | 12:00 | 11.86 | -4.18 | -50.9 | 76.5 | 822 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1283.5 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
45000 | 12:30 | 11.84 | -4.18 | -53.0 | 75.5 | 792 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1285.6 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
46800 | 13:00 | 11.83 | -4.18 | -55.1 | 74.5 | 762 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1287.7 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
48600 | 13:30 | 11.81 | -4.18 | -57.3 | 73.5 | 729 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1289.8 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
50400 | 14:00 | 11.80 | -4.18 | -59.4 | 72.5 | 699 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1291.9 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
52200 | 14:30 | 11.78 | -4.18 | -61.5 | 71.6 | 669 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1293.9 | 1303.6 | 5 | 12 | 1 | 2 | 0 | 2 | 0 | 14
54000 | 15:00 | 11.76 | -4.17 | -63.6 | 70.6 | 639 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1296.0 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
55800 | 15:30 | 11.75 | -4.17 | -65.7 | 69.6 | 610 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1298.1 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
57600 | 16:00 | 11.73 | -4.17 | -67.7 | 68.7 | 580 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1300.2 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
59400 | 16:30 | 11.71 | -4.16 | -69.8 | 67.7 | 550 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1302.3 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
61200 | 17:00 | 11.69 | -4.16 | -71.9 | 66.8 | 520 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1304.3 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
63000 | 17:30 | 11.67 | -4.15 | -74.0 | 65.8 | 490 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1306.4 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
64800 | 18:00 | 11.65 | -4.15 | -76.0 | 64.8 | 469 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1308.5 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
66600 | 18:30 | 11.63 | -4.13 | -78.1 | 63.9 | 439 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1310.5 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
68400 | 19:00 | 11.61 | -4.14 | -80.2 | 62.9 | 408 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1312.6 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
70200 | 19:30 | 11.58 | -4.13 | -82.4 | 61.9 | 376 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1314.7 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
72000 | 20:00 | 11.55 | -4.12 | -84.5 | 60.9 | 345 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1316.8 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
73800 | 20:30 | 11.51 | -4.12 | -86.5 | 60.0 | 315 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1318.8 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
75600 | 21:00 | 11.48 | -4.10 | -88.6 | 59.0 | 285 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1320.9 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
77400 | 21:30 | 11.44 | -4.09 | -90.6 | 58.1 | 260 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1322.9 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
79200 | 22:00 | 11.40 | -4.08 | -92.7 | 57.1 | 230 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1325.0 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
81000 | 22:30 | 11.35 | -4.07 | -94.7 | 56.2 | 199 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1327.0 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
82800 | 23:00 | 11.29 | -4.07 | -96.7 | 55.3 | 169 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1329.0 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
84600 | 23:30 | 11.22 | -4.06 | -98.8 | 54.3 | 139 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1331.1 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
86400 | 24:00 | 11.13 | -4.04 | -100.8 | 53.4 | 109 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1333.1 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
88200 | 24:30 | 10.97 | -3.99 | -102.8 | 52.5 | 79 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.1 | 1303.6 | 6 | 12 | 1 | 2 | 0 | 2 | 0 | 14
90000 | 25:00 | 12.97 | 18.62 | -97.8 | 54.8 | -1 | 93.9 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1309.6 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
91800 | 25:30 | 13.07 | 17.44 | -89.5 | 58.6 | -1 | 93.9 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1318.7 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
93600 | 26:00 | 13.17 | 15.98 | -81.6 | 62.3 | -1 | 93.9 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1327.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
95400 | 26:30 | 13.25 | 14.53 | -74.4 | 65.6 | -1 | 93.9 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1334.7 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
97200 | 27:00 | 13.31 | 12.41 | -68.1 | 68.5 | -1 | 93.9 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1341.5 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
99000 | 27:30 | 13.37 | 11.04 | -62.6 | 71.1 | -1 | 93.9 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1347.4 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
100800 | 28:00 | 13.42 | 9.69 | -57.8 | 73.3 | -1 | 93.9 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1352.4 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
102600 | 28:30 | 13.49 | 8.95 | -53.4 | 75.3 | -1 | 93.9 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1357.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
104400 | 29:00 | 13.56 | 8.16 | -49.4 | 77.2 | -1 | 93.9 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1361.4 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
106200 | 29:30 | 13.57 | 6.67 | -46.0 | 78.8 | -1 | 93.9 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1365.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
108000 | 30:00 | 13.61 | 6.04 | -43.0 | 80.1 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1368.2 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
109800 | 30:30 | 13.65 | 5.49 | -40.3 | 81.4 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1371.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
111600 | 31:00 | 13.70 | 4.99 | -37.8 | 82.5 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1373.7 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
113400 | 31:30 | 13.74 | 4.55 | -35.8 | 83.5 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1376.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
115200 | 32:00 | 13.79 | 4.13 | -33.7 | 84.4 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1378.3 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
117000 | 32:30 | 13.82 | 3.81 | -31.9 | 85.3 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1380.3 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
118800 | 33:00 | 13.86 | 3.51 | -30.2 | 86.1 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1382.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
120600 | 33:30 | 13.88 | 3.24 | -28.6 | 86.8 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1383.8 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
122400 | 34:00 | 13.91 | 2.98 | -27.1 | 87.5 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1385.4 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
124200 | 34:30 | 13.94 | 2.78 | -25.8 | 88.1 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1386.8 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
126000 | 35:00 | 13.96 | 2.58 | -24.5 | 88.7 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1388.2 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
127800 | 35:30 | 13.98 | 2.41 | -23.4 | 89.2 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1389.4 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
129600 | 36:00 | 14.00 | 2.26 | -22.3 | 89.7 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1390.6 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
131400 | 36:30 | 14.02 | 2.12 | -21.2 | 90.2 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1391.7 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
133200 | 37:00 | 13.32 | 0.06 | -21.2 | 90.2 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1391.7 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
135000 | 37:30 | 13.29 | 0.17 | -21.4 | 90.2 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1391.8 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
136800 | 38:00 | 13.28 | 0.24 | -21.3 | 90.2 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1391.9 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
138600 | 38:30 | 13.28 | 0.26 | -21.1 | 90.3 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1392.0 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
140400 | 39:00 | 13.27 | 0.28 | -21.0 | 90.3 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1392.2 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
142200 | 39:30 | 13.27 | 0.28 | -20.9 | 90.4 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1392.3 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
144000 | 40:00 | 13.27 | 0.29 | -20.7 | 90.4 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1392.4 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
145800 | 40:30 | 13.27 | 0.29 | -20.6 | 90.5 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1392.6 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
147600 | 41:00 | 13.27 | 0.29 | -20.5 | 90.6 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1392.7 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
149400 | 41:30 | 13.27 | 0.29 | -20.3 | 90.6 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1392.9 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
151200 | 42:00 | 13.27 | 0.29 | -20.2 | 90.7 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.7 | 1393.0 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
153000 | 42:30 | 14.02 | 2.09 | -19.6 | 91.0 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.8 | 1393.6 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
154800 | 43:00 | 14.06 | 1.79 | -18.7 | 91.4 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.8 | 1394.6 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
156600 | 43:30 | 14.08 | 1.67 | -18.1 | 91.7 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.8 | 1395.5 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
158400 | 44:00 | 14.09 | 1.58 | -17.4 | 92.0 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.8 | 1396.3 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
160200 | 44:30 | 14.10 | 1.49 | -16.6 | 92.4 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.8 | 1397.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
162000 | 45:00 | 14.11 | 1.43 | -15.9 | 92.7 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.8 | 1397.8 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
163800 | 45:30 | 14.12 | 1.36 | -15.3 | 93.0 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.8 | 1398.5 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
165600 | 46:00 | 14.12 | 1.29 | -14.7 | 93.3 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.8 | 1399.2 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
167400 | 46:30 | 14.13 | 1.24 | -14.1 | 93.5 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.8 | 1399.8 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
169200 | 47:00 | 14.14 | 1.19 | -13.5 | 93.8 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.8 | 1400.4 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
171000 | 47:30 | 14.14 | 1.15 | -13.0 | 94.0 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.8 | 1401.0 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
172800 | 48:00 | 14.15 | 1.11 | -12.4 | 94.3 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.8 | 1401.6 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
174600 | 48:30 | 13.99 | 0.91 | -11.9 | 94.5 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1335.8 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
176400 | 49:00 | 13.34 | -0.12 | -12.2 | 94.4 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.1 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
178200 | 49:30 | 13.31 | -0.11 | -12.5 | 94.3 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.1 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
180000 | 50:00 | 13.28 | -0.10 | -12.5 | 94.3 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.2 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
181800 | 50:30 | 13.26 | -0.11 | -12.6 | 94.2 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.3 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
183600 | 51:00 | 13.24 | -0.10 | -12.6 | 94.2 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.3 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
185400 | 51:30 | 13.23 | -0.10 | -12.7 | 94.2 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.4 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
187200 | 52:00 | 13.21 | -0.10 | -12.7 | 94.2 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.4 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
189000 | 52:30 | 13.20 | -0.11 | -12.8 | 94.1 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.5 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
190800 | 53:00 | 13.19 | -0.11 | -12.8 | 94.1 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.5 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
192600 | 53:30 | 13.18 | -0.11 | -12.9 | 94.1 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.6 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
194400 | 54:00 | 13.17 | -0.10 | -12.9 | 94.1 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.6 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
196200 | 54:30 | 13.16 | -0.11 | -13.0 | 94.1 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.7 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
198000 | 55:00 | 13.15 | -0.11 | -13.0 | 94.0 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.7 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
199800 | 55:30 | 13.15 | -0.11 | -13.3 | 93.9 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.8 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
201600 | 56:00 | 13.14 | -0.11 | -13.3 | 93.9 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.8 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
203400 | 56:30 | 13.13 | -0.10 | -13.4 | 93.9 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.9 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
205200 | 57:00 | 13.12 | -0.11 | -13.4 | 93.9 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1336.9 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
207000 | 57:30 | 13.12 | -0.11 | -13.5 | 93.8 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1337.0 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
208800 | 58:00 | 13.11 | -0.10 | -13.5 | 93.8 | 14400 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1337.0 | 1402.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
239400 | 66:30 | 13.67 | 4.27 | -14.5 | 93.4 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1337.9 | 1402.2 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
241200 | 67:00 | 14.06 | 2.16 | -13.2 | 94.0 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1337.9 | 1403.6 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
243000 | 67:30 | 14.13 | 1.75 | -12.5 | 94.3 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1337.9 | 1404.5 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
244800 | 68:00 | 14.17 | 1.51 | -11.7 | 94.7 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1337.9 | 1405.4 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
246600 | 68:30 | 14.20 | 1.37 | -11.0 | 95.0 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1337.9 | 1406.1 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
248400 | 69:00 | 14.21 | 1.27 | -10.4 | 95.3 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1337.9 | 1406.7 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
250200 | 69:30 | 14.23 | 1.19 | -9.9 | 95.5 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1337.9 | 1407.4 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
252000 | 70:00 | 14.23 | 1.13 | -9.3 | 95.8 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1337.9 | 1407.9 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
253800 | 70:30 | 14.25 | 1.07 | -8.8 | 96.0 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -49.7 | -22.8 | -80.4 | -37.0 | 1337.9 | 1408.5 | 6 | 12 | 1 | 3 | 1 | 2 | 0 | 14
255600 | 71:00 | 14.25 | 1.04 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1337.9 | 1409.0 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
257400 | 71:30 | 14.26 | 1.01 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1337.9 | 1409.5 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
259200 | 72:00 | 14.26 | 0.96 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1337.9 | 1410.0 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
261000 | 72:30 | 14.27 | 0.93 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1337.9 | 1410.5 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
262800 | 73:00 | 14.27 | 0.91 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1337.9 | 1411.0 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
264600 | 73:30 | 13.44 | -0.12 | -0.2 | 99.9 | -1 | 93.9 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1337.9 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
266400 | 74:00 | 13.38 | -0.11 | -0.3 | 99.9 | -1 | 93.9 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.0 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
268200 | 74:30 | 13.34 | -0.12 | -0.3 | 99.9 | -1 | 93.9 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.0 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
270000 | 75:00 | 13.32 | -0.10 | -0.4 | 99.8 | -1 | 93.9 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.1 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
271800 | 75:30 | 13.30 | -0.10 | -0.4 | 99.8 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.1 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
273600 | 76:00 | 13.28 | -0.11 | -0.5 | 99.8 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.2 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
275400 | 76:30 | 13.26 | -0.11 | -0.5 | 99.8 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.2 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
277200 | 77:00 | 13.25 | -0.10 | -0.6 | 99.7 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.3 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
279000 | 77:30 | 13.24 | -0.11 | -0.6 | 99.7 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.4 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
280800 | 78:00 | 13.23 | -0.11 | -0.7 | 99.7 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.4 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
282600 | 78:30 | 13.22 | -0.10 | -0.7 | 99.7 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.5 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
284400 | 79:00 | 13.21 | -0.11 | -0.8 | 99.6 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.5 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
286200 | 79:30 | 13.19 | -0.12 | -1.0 | 99.5 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.6 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
288000 | 80:00 | 13.19 | -0.11 | -1.1 | 99.5 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.6 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
289800 | 80:30 | 13.18 | -0.11 | -1.1 | 99.5 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.7 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
291600 | 81:00 | 13.17 | -0.11 | -1.2 | 99.5 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.7 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
293400 | 81:30 | 13.16 | -0.12 | -1.2 | 99.4 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.8 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
295200 | 82:00 | 13.15 | -0.11 | -1.3 | 99.4 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.8 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
297000 | 82:30 | 13.14 | -0.11 | -1.3 | 99.4 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.9 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
298800 | 83:00 | 13.13 | -0.11 | -1.4 | 99.4 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1338.9 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
300600 | 83:30 | 13.12 | -0.11 | -1.4 | 99.4 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.0 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
302400 | 84:00 | 13.12 | -0.10 | -1.5 | 99.3 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.0 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
304200 | 84:30 | 13.11 | -0.11 | -1.5 | 99.3 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.1 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
306000 | 85:00 | 13.10 | -0.12 | -1.6 | 99.3 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.1 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
307800 | 85:30 | 13.09 | -0.11 | -1.8 | 99.2 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.2 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
309600 | 86:00 | 13.09 | -0.10 | -1.9 | 99.2 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.2 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
311400 | 86:30 | 13.08 | -0.12 | -1.9 | 99.1 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.3 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
313200 | 87:00 | 13.07 | -0.10 | -2.0 | 99.1 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.3 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
315000 | 87:30 | 13.06 | -0.11 | -2.0 | 99.1 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.4 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
316800 | 88:00 | 13.06 | -0.11 | -2.1 | 99.1 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.4 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
318600 | 88:30 | 13.05 | -0.11 | -2.2 | 99.0 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.5 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
320400 | 89:00 | 13.05 | -0.11 | -2.2 | 99.0 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.5 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
322200 | 89:30 | 13.04 | -0.11 | -2.2 | 99.0 | -1 | 93.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1411.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
324000 | 90:00 | 14.07 | 1.99 | -1.3 | 99.4 | -1 | 93.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1412.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
325800 | 90:30 | 14.15 | 1.52 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1412.9 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
327600 | 91:00 | 14.20 | 1.28 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1413.7 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
329400 | 91:30 | 14.22 | 1.14 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1414.3 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
331200 | 92:00 | 14.24 | 1.04 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1414.8 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
333000 | 92:30 | 14.25 | 0.97 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1415.3 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
334800 | 93:00 | 14.26 | 0.92 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1415.8 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
336600 | 93:30 | 14.28 | 0.96 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1416.3 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
338400 | 94:00 | 14.29 | 0.93 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1416.7 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
340200 | 94:30 | 14.29 | 0.91 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1417.2 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
342000 | 95:00 | 14.29 | 0.88 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1417.6 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
343800 | 95:30 | 14.30 | 0.87 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1418.1 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
345600 | 96:00 | 14.30 | 0.83 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1418.5 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
347400 | 96:30 | 14.30 | 0.82 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1418.9 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
349200 | 97:00 | 14.30 | 0.81 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1419.3 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14
351000 | 97:30 | 14.31 | 0.79 | 0.0 | 100.0 | -1 | 93.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | -53.9 | -24.7 | -103.4 | -47.8 | 1339.6 | 1419.8 | 6 | 13 | 1 | 3 | 1 | 2 | 0 | 14