## Marine Calculator
Input Data into Yellow fields only!
|  |  |  | Avg Current | Average | Average
|  |  | Appliance | Draw (amps) | Daily Use | Consumption
|  |  |  | at 12VDC | (hours/day) | (AmpHours/day)
Marine Solar Panel Size Calculator
|  |  | Bilge Pump | 4 | 0 | 0
|  |  | GPS | 0.5 | 0 | 0
| Number of Amp/Hours used Per day* | 0 | TV & DVR | 6 | 0 | 0
|  |  | VHF (receive) | 0.5 | 0 | 0
| Number of Hours of Direct Sunlight per day | 5 | VHF (transmit) | 5 | 0 | 0
|  |  | Instruments | 0.5 | 0 | 0
| Minimum Watts Required | 0 | AutoPilot | 2 | 0 | 0
|  |  | Medium Fridge | 5 | 0 | 0
| Recommended Panel Size (add 20%) | 0 | Stereo | 2 | 0 | 0
|  |  | Anchor Light | 2 | 0 | 0
|  |  | Laptop Computer | 4.8 | 0 | 0
* Add up the average amount of time (in hours) that your onboard 12VDC |  |  | Other | 0 | 0 | 0
electrical appliances are used per day using the worksheet on the right. |  |  |  |  | TOTAL | 0
****Electricity capacity is expressed in Amp Hours. If you use a 5 amp appliance for 2 hours that's 10 Amp Hours.
Batteries have a Amp Hour Rating and your battery bank is the key of any electrical system. It is important
to list every item that uses battery power in your RV. This includes not only DC lights, radio, etc, but also AC
items that run off the inverter such as a Micorwave or TV. Basically we are powering AC applicances from 12V DC
Batteries through the inverter so converting AC amps to DC amps is required.
ex - an AC appliance, if you know the Amps mulitply by 10. So 8 Amps AC = 80 Amps
For DC or AC Appliance, if you know the Watts divide by 12 and now you have the AMPS.

## RV Calculator
Input Data into Yellow fields only!
|  |  |  | Avg Current | Average | Average
|  |  | Appliance | Draw (amps) | Daily Use | Consumption
|  |  |  | at 12VDC | (hours/day) | (AmpHours/day)
| Solar Panel Size Calculator |  | 12 Volt Appliances
|  |  | 12 Volt Stereo | 0.8 | 0 | 0
|  |  | Water Pump | 8 | 0 | 0
| Number of Amp/Hours used Per day* | 0 | Automatic Fan | 2.5 | 0 | 0
|  |  | 10 Watt Light | 0.8 | 0 | 0
| Number of Hours of Direct Sunlight per day | 5 | 15 Watt Light | 1.25 | 0 | 0
|  |  | Furnace | 8 | 0 | 0
| Minimum Watts Required | 0 | Propane Alarm | 0.21 | 0 | 0
|  |  | 120 VAC Appl. Using DC to AC Inverters | 5 | 0 | 0
| Recommended Panel Size (add 20%) | 0 | Small TV 9" | 4 | 0 | 0
|  |  | DVD Player | 3 | 0 | 0
|  |  | Microwave (avg .15 day) | 100 | 0 | 0
|  |  | Satellite | 4 | 0 | 0
|  |  | Coffee Maker (avg. .15 a day) | 60 | 0 | 0
* Add up the average amount of time (in hours) that your 12VDC |  |  | Laptop | 5 | 0 | 0
electrical appliances are used per day using the worksheet on the right. |  |  | Vent & range hood fan | 2 | 0 | 0
|  |  | Vacuum (avg. .15 a day) | 35 | 0 | 0
|  |  | blender (avg .15 a day) | 12 | 0 | 0
****Electricity capacity is expressed in Amp Hours. If you use a 5 amp appliance for 2 hours that's 10 Amp Hours. |  |  | Blow Dryer (Avg. .15 a day) | 125 | 0 | 0
Batteries have a Amp Hour Rating and your battery bank is the key of any electrical system. It is important |  |  | Curling Iron (Avg. .15 a day) | 3 | 0 | 0
to list every item that uses battery power in your RV. This includes not only DC lights, radio, etc, but also AC |  |  | Medium Fridge | 5 | 0 | 0
items that run off the inverter such as a Micorwave or TV. Basically we are powering AC applicances from 12V DC |  |  | Toaster (avg. 15 a day) | 60 | 0 | 0
Batteries through the inverter so converting AC amps to DC amps is required. |  |  | Other | 0 | 0 | 0
ex - an AC appliance, if you know the Amps mulitply by 10. So 8 Amps AC = 80 Amps |  |  |  |  | TOTAL | 0
For DC or AC Appliance, if you know the Watts divide by 12 and now you have the AMPS.